## Par_ActivationFactor_ID_Up_Reg
Node | Time | ActivationFactorIDUp
1 | 1 | 1
1 | 2 | 0
1 | 3 | 1
2 | 1 | 0
2 | 2 | 0
2 | 3 | 1
3 | 1 | 0
3 | 2 | 1
3 | 3 | 1
4 | 1 | 1
4 | 2 | 0
4 | 3 | 1
5 | 1 | 0
5 | 2 | 1
5 | 3 | 1
6 | 1 | 1
6 | 2 | 0
6 | 3 | 1

## Par_ActivationFactor_ID_Dwn_Reg
Node | Time | ActivationFactorIDDwn
1 | 1 | 1
1 | 2 | 0
1 | 3 | 0
2 | 1 | 0
2 | 2 | 1
2 | 3 | 1
3 | 1 | 0
3 | 2 | 0
3 | 3 | 1
4 | 1 | 0
4 | 2 | 1
4 | 3 | 1
5 | 1 | 1
5 | 2 | 0
5 | 3 | 1
6 | 1 | 1
6 | 2 | 0
6 | 3 | 1

## Par_ActivationFactor_Dwn_Reg
Info: Data hentet fra NO3 Nord Pool aktivering i mFRR 2. desember 2024 (https://data.nordpoolgroup.com/power-system/manual-frequency-restoration-reserve?deliveryDate=2024-12-02&deliveryAreas=NO3&viewMode=Volumes)
Scenario 2: + 2 i down aktivering, Scenario 3: -2 i down aktivering
Node | Time | ActivationFactorDwnRegulation
1 | 1 | 1
1 | 2 | 1
1 | 3 | 0
2 | 1 | 1
2 | 2 | 1
2 | 3 | 0
3 | 1 | 0
3 | 2 | 0
3 | 3 | 1
4 | 1 | 1
4 | 2 | 0
4 | 3 | 1
5 | 1 | 0
5 | 2 | 1
5 | 3 | 0
6 | 1 | 0
6 | 2 | 0
6 | 3 | 0

## Par_ActivationFactor_Up_Reg
Info: Data hentet fra NO3 Nord Pool aktivering i mFRR 2. desember 2024 (https://data.nordpoolgroup.com/power-system/manual-frequency-restoration-reserve?deliveryDate=2024-12-02&deliveryAreas=NO3&viewMode=Volumes)
Scenario 2: - 2 i up aktivering, Scenario 3: +2 i up aktivering
Node | Time | ActivationFactorUpRegulation
1 | 1 | 1
1 | 2 | 0
1 | 3 | 0
2 | 1 | 0
2 | 2 | 1
2 | 3 | 1
3 | 1 | 0
3 | 2 | 0
3 | 3 | 1
4 | 1 | 0
4 | 2 | 1
4 | 3 | 1
5 | 1 | 1
5 | 2 | 0
5 | 3 | 1
6 | 1 | 1
6 | 2 | 0
6 | 3 | 1

## Par_aFRR_DWN_ACT_price
Info: Hentet fra aktiveringspriser priser for NO3 mFRR markedet på Nord Pool (02.12.2024) (https://data.nordpoolgroup.com/power-system/manual-frequency-restoration-reserve?deliveryDate=2024-12-02&deliveryAreas=NO2,NO3,NO5&viewMode=Prices )
Benevning: | [EUR/MWh]
Node | Time | aFRR_DWN_Activation_price
1 | 1 | 6
1 | 2 | 0
1 | 3 | 22
2 | 1 | 7
2 | 2 | 10
2 | 3 | 4
3 | 1 | 20
3 | 2 | 12
3 | 3 | 22
4 | 1 | 10
4 | 2 | 27
4 | 3 | 23
5 | 1 | 6
5 | 2 | 25
5 | 3 | 16
6 | 1 | 30
6 | 2 | 23
6 | 3 | 11

## Par_aFRR_DWN_CAP_price
Info: | Hentet for data i NO3, 2. desember, ENTSO-E
Benevning: | [EUR/MWh]
Node | Time | aFRR_DWN_Capacity_price
1 | 1 | 19
1 | 2 | 2
1 | 3 | 24
2 | 1 | 19
2 | 2 | 23
2 | 3 | 27
3 | 1 | 20
3 | 2 | 5
3 | 3 | 11
4 | 1 | 20
4 | 2 | 27
4 | 3 | 10
5 | 1 | 23
5 | 2 | 10
5 | 3 | 23
6 | 1 | 4
6 | 2 | 5
6 | 3 | 2

## Par_aFRR_UP_ACT_price
Info: | Hentet fra ENTSO-E - det tyske TFE markedet sin activation price 2. oktober 2024
Benevning: | [EUR/MWh]
Scenario | Time | aFRR_UP_Activation_price
1 | 1 | 19
1 | 2 | 12
1 | 3 | 14
2 | 1 | 20
2 | 2 | 13
2 | 3 | 4
3 | 1 | 18
3 | 2 | 26
3 | 3 | 2
4 | 1 | 4
4 | 2 | 10
4 | 3 | 7
5 | 1 | 29
5 | 2 | 24
5 | 3 | 28
6 | 1 | 12
6 | 2 | 18
6 | 3 | 16

## Par_aFRR_UP_CAP_price
Info: | Hentet for data i NO3, 2. desember, ENTSO-E
Benevning: | [EUR/MWh]
Node | Time | aFRR_UP_Capacity_price
1 | 1 | 5
1 | 2 | 27
1 | 3 | 19
2 | 1 | 30
2 | 2 | 9
2 | 3 | 13
3 | 1 | 16
3 | 2 | 23
3 | 3 | 27
4 | 1 | 19
4 | 2 | 11
4 | 3 | 29
5 | 1 | 15
5 | 2 | 20
5 | 3 | 18
6 | 1 | 18
6 | 2 | 27
6 | 3 | 28

## Par_AvailabilityFactor
Info: Hentet fra GENeSYS-MOD Availability factor dataset - worldwide data for år 2025, Assumption for short down times for maintenance (2% for det meste). PV er hentet fra Renewable Ninja, soldata i Orkanger (07/07/2019)- availabilityfactor brukt: andel av total installert output som er mulig å hente i gitt time. Sol er ganget med 1,3 i scenario 2 og 0,7 i scenario 3
Benevning: |  | Obs: Har laget uten Operational mode, til tross for at CHP med CH4 input ifølge genesys har 0,8 i availability factor, mens H" som input gir 0,98 i faktor - har antatt all CHP bruk gir 0,98 i availability
Node | Time | Technology | AvailabilityFactor
1 | 1 | Power_Grid | 1
2 | 1 | Power_Grid | 1
3 | 1 | Power_Grid | 1
4 | 1 | Power_Grid | 1
5 | 1 | Power_Grid | 1
6 | 1 | Power_Grid | 1
1 | 2 | Power_Grid | 1
2 | 2 | Power_Grid | 1
3 | 2 | Power_Grid | 1
4 | 2 | Power_Grid | 1
5 | 2 | Power_Grid | 1
6 | 2 | Power_Grid | 1
1 | 3 | Power_Grid | 1
2 | 3 | Power_Grid | 1
3 | 3 | Power_Grid | 1
4 | 3 | Power_Grid | 1
5 | 3 | Power_Grid | 1
6 | 3 | Power_Grid | 1
1 | 1 | ElectricBoiler | 0.98
2 | 1 | ElectricBoiler | 0.98
3 | 1 | ElectricBoiler | 0.98
4 | 1 | ElectricBoiler | 0.98
5 | 1 | ElectricBoiler | 0.98
6 | 1 | ElectricBoiler | 0.98
1 | 2 | ElectricBoiler | 0.98
2 | 2 | ElectricBoiler | 0.98
3 | 2 | ElectricBoiler | 0.98
4 | 2 | ElectricBoiler | 0.98
5 | 2 | ElectricBoiler | 0.98
6 | 2 | ElectricBoiler | 0.98
1 | 3 | ElectricBoiler | 0.98
2 | 3 | ElectricBoiler | 0.98
3 | 3 | ElectricBoiler | 0.98
4 | 3 | ElectricBoiler | 0.98
5 | 3 | ElectricBoiler | 0.98
6 | 3 | ElectricBoiler | 0.98
1 | 1 | HeatPump_LT | 0.98
2 | 1 | HeatPump_LT | 0.98
3 | 1 | HeatPump_LT | 0.98
4 | 1 | HeatPump_LT | 0.98
5 | 1 | HeatPump_LT | 0.98
6 | 1 | HeatPump_LT | 0.98
1 | 2 | HeatPump_LT | 0.98
2 | 2 | HeatPump_LT | 0.98
3 | 2 | HeatPump_LT | 0.98
4 | 2 | HeatPump_LT | 0.98
5 | 2 | HeatPump_LT | 0.98
6 | 2 | HeatPump_LT | 0.98
1 | 3 | HeatPump_LT | 0.98
2 | 3 | HeatPump_LT | 0.98
3 | 3 | HeatPump_LT | 0.98
4 | 3 | HeatPump_LT | 0.98
5 | 3 | HeatPump_LT | 0.98
6 | 3 | HeatPump_LT | 0.98
1 | 1 | HeatPump_MT | 0.98
2 | 1 | HeatPump_MT | 0.98
3 | 1 | HeatPump_MT | 0.98
4 | 1 | HeatPump_MT | 0.98
5 | 1 | HeatPump_MT | 0.98
6 | 1 | HeatPump_MT | 0.98
1 | 2 | HeatPump_MT | 0.98
2 | 2 | HeatPump_MT | 0.98
3 | 2 | HeatPump_MT | 0.98
4 | 2 | HeatPump_MT | 0.98
5 | 2 | HeatPump_MT | 0.98
6 | 2 | HeatPump_MT | 0.98
1 | 3 | HeatPump_MT | 0.98
2 | 3 | HeatPump_MT | 0.98
3 | 3 | HeatPump_MT | 0.98
4 | 3 | HeatPump_MT | 0.98
5 | 3 | HeatPump_MT | 0.98
6 | 3 | HeatPump_MT | 0.98
1 | 1 | PV | 0
2 | 1 | PV | 0.0047652
3 | 1 | PV | 0.026241
4 | 1 | PV | 0.069682
5 | 1 | PV | 0.14797
6 | 1 | PV | 0.25873
1 | 2 | PV | 0.22495
2 | 2 | PV | 0.13642
3 | 2 | PV | 0.06791
4 | 2 | PV | 0.033556
5 | 2 | PV | 0.005515
6 | 2 | PV | 0
1 | 3 | PV | 0
2 | 3 | PV | 0
3 | 3 | PV | 0
4 | 3 | PV | 0
5 | 3 | PV | 0
6 | 3 | PV | 0
1 | 1 | P2G | 0.98
2 | 1 | P2G | 0.98
3 | 1 | P2G | 0.98
4 | 1 | P2G | 0.98
5 | 1 | P2G | 0.98
6 | 1 | P2G | 0.98
1 | 2 | P2G | 0.98
2 | 2 | P2G | 0.98
3 | 2 | P2G | 0.98
4 | 2 | P2G | 0.98
5 | 2 | P2G | 0.98
6 | 2 | P2G | 0.98
1 | 3 | P2G | 0.98
2 | 3 | P2G | 0.98
3 | 3 | P2G | 0.98
4 | 3 | P2G | 0.98
5 | 3 | P2G | 0.98
6 | 3 | P2G | 0.98
1 | 1 | G2P | 0.98
2 | 1 | G2P | 0.98
3 | 1 | G2P | 0.98
4 | 1 | G2P | 0.98
5 | 1 | G2P | 0.98
6 | 1 | G2P | 0.98
1 | 2 | G2P | 0.98
2 | 2 | G2P | 0.98
3 | 2 | G2P | 0.98
4 | 2 | G2P | 0.98
5 | 2 | G2P | 0.98
6 | 2 | G2P | 0.98
1 | 3 | G2P | 0.98
2 | 3 | G2P | 0.98
3 | 3 | G2P | 0.98
4 | 3 | G2P | 0.98
5 | 3 | G2P | 0.98
6 | 3 | G2P | 0.98
1 | 1 | GasBoiler | 0.98
2 | 1 | GasBoiler | 0.98
3 | 1 | GasBoiler | 0.98
4 | 1 | GasBoiler | 0.98
5 | 1 | GasBoiler | 0.98
6 | 1 | GasBoiler | 0.98
1 | 2 | GasBoiler | 0.98
2 | 2 | GasBoiler | 0.98
3 | 2 | GasBoiler | 0.98
4 | 2 | GasBoiler | 0.98
5 | 2 | GasBoiler | 0.98
6 | 2 | GasBoiler | 0.98
1 | 3 | GasBoiler | 0.98
2 | 3 | GasBoiler | 0.98
3 | 3 | GasBoiler | 0.98
4 | 3 | GasBoiler | 0.98
5 | 3 | GasBoiler | 0.98
6 | 3 | GasBoiler | 0.98
1 | 1 | CHP | 0.98
2 | 1 | CHP | 0.98
3 | 1 | CHP | 0.98
4 | 1 | CHP | 0.98
5 | 1 | CHP | 0.98
6 | 1 | CHP | 0.98
1 | 2 | CHP | 0.98
2 | 2 | CHP | 0.98
3 | 2 | CHP | 0.98
4 | 2 | CHP | 0.98
5 | 2 | CHP | 0.98
6 | 2 | CHP | 0.98
1 | 3 | CHP | 0.98
2 | 3 | CHP | 0.98
3 | 3 | CHP | 0.98
4 | 3 | CHP | 0.98
5 | 3 | CHP | 0.98
6 | 3 | CHP | 0.98
1 | 1 | Biogas_Grid | 0.9
2 | 1 | Biogas_Grid | 0.9
3 | 1 | Biogas_Grid | 0.9
4 | 1 | Biogas_Grid | 0.9
5 | 1 | Biogas_Grid | 0.9
6 | 1 | Biogas_Grid | 0.9
1 | 2 | Biogas_Grid | 0.9
2 | 2 | Biogas_Grid | 0.9
3 | 2 | Biogas_Grid | 0.9
4 | 2 | Biogas_Grid | 0.9
5 | 2 | Biogas_Grid | 0.9
6 | 2 | Biogas_Grid | 0.9
1 | 3 | Biogas_Grid | 0.9
2 | 3 | Biogas_Grid | 0.9
3 | 3 | Biogas_Grid | 0.9
4 | 3 | Biogas_Grid | 0.9
5 | 3 | Biogas_Grid | 0.9
6 | 3 | Biogas_Grid | 0.9
1 | 1 | CH4_Grid | 0.8
2 | 1 | CH4_Grid | 0.8
3 | 1 | CH4_Grid | 0.8
4 | 1 | CH4_Grid | 0.8
5 | 1 | CH4_Grid | 0.8
6 | 1 | CH4_Grid | 0.8
1 | 2 | CH4_Grid | 0.8
2 | 2 | CH4_Grid | 0.8
3 | 2 | CH4_Grid | 0.8
4 | 2 | CH4_Grid | 0.8
5 | 2 | CH4_Grid | 0.8
6 | 2 | CH4_Grid | 0.8
1 | 3 | CH4_Grid | 0.8
2 | 3 | CH4_Grid | 0.8
3 | 3 | CH4_Grid | 0.8
4 | 3 | CH4_Grid | 0.8
5 | 3 | CH4_Grid | 0.8
6 | 3 | CH4_Grid | 0.8
1 | 1 | CH4_H2_Mixer | 1
2 | 1 | CH4_H2_Mixer | 1
3 | 1 | CH4_H2_Mixer | 1
4 | 1 | CH4_H2_Mixer | 1
5 | 1 | CH4_H2_Mixer | 1
6 | 1 | CH4_H2_Mixer | 1
1 | 2 | CH4_H2_Mixer | 1
2 | 2 | CH4_H2_Mixer | 1
3 | 2 | CH4_H2_Mixer | 1
4 | 2 | CH4_H2_Mixer | 1
5 | 2 | CH4_H2_Mixer | 1
6 | 2 | CH4_H2_Mixer | 1
1 | 3 | CH4_H2_Mixer | 1
2 | 3 | CH4_H2_Mixer | 1
3 | 3 | CH4_H2_Mixer | 1
4 | 3 | CH4_H2_Mixer | 1
5 | 3 | CH4_H2_Mixer | 1
6 | 3 | CH4_H2_Mixer | 1

## Par_AvailableExcessHeat
Info: kilde: https://www.energy.gov/eere/amo/articles/waste-heat-recovery-publications-and-resources - :
Benevning: andel av total load av heat
AvailableExcessHeat
0.2

## Par_CarbonIntensity
Info: For CH4 og biogass: https://www.miljodirektoratet.no/ansvarsomrader/klima/for-myndigheter/kutte-utslipp-av-klimagasser/klima-og-energiplanlegging/tabeller-for-omregning-fra-energivarer-til-kwh/, For Strøm: https://www.nve.no/nytt-fra-nve/nyheter-energi/lavt-klimagassutslipp-knyttet-til-norsk-stroemforbruk-i-2022/
Benevning: | [kgCO2/MWh]
Technology | OperationalMode | CarbonIntensity
Power_Grid | 1 | 19
ElectricBoiler | 1 | 0
ElectricBoiler | 2 | 0
HeatPump_LT | 1 | 0
HeatPump_MT | 1 | 0
PV | 1 | 1
P2G | 1 | 0
G2P | 1 | 0
GasBoiler | 1 | 0
GasBoiler | 2 | 0
GasBoiler | 3 | 0
GasBoiler | 4 | 0
GasBoiler | 5 | 0
GasBoiler | 6 | 0
CHP | 1 | 0
CHP | 2 | 0
CHP | 3 | 0
CHP | 4 | 0
CHP | 5 | 0
CHP | 6 | 0
Biogas_Grid | 1 | 1
CH4_Grid | 1 | 200
CH4_H2_Mixer | 1 | 0

## Par_CostEmission
Info: Retreived from GENeSYS-MOD data
Benevning: [EUR/kgCO2e]
CostEmisson
0.056

## Par_CostExpansion_Tec
Unit: [EUR/MW] | Obs: antatt at Gas Boiler LT og MT, samt Electric Boiler LT og MT har samme cost expansion. Må ellers legge til dimensjon av fuel eller modus
Technology | CostExpansion
Power_Grid | 1000000
ElectricBoiler | 20.8
HeatPump_LT | 119.2
HeatPump_MT | 143.8
PV | 62.6
P2G | 82.1
G2P | 378.1
GasBoiler | 6
CHP | 274
Biogas_Grid | 1000000
CH4_Grid | 1000000
CH4_H2_Mixer | 0

## Par_CostExpansion_Bat
Unit: [EUR/MWh]
FlexibleLoads | CostExpansion
BESS_Li_Ion_1 | 152.05
BESS_Redox_1 | 87.7
CAES_1 | 47.3
Flywheel_1 | 21.1
Hot_Water_Tank_LT_1 | 0.2
H2_Storage_1 | 10.7
CH4_Storage_1 | 0.05
Shiftable_Electricity | 1000000
Shiftable_LT | 1000000
Shiftable_MT | 1000000
Shiftable_H2 | 1000000
Shiftable_CH4 | 1000000
Shiftable_Biogas | 1000000

## Par_CostGridTariff
Info: Hvor har du funnet denne dataen igjen for tariff Lasse? Men er ikke releavnt å ha med grid tariff i vår case oppgave
Benevning: [NOK/MWh] ?
Cost_GridTariff
130.46

## Par_Energy2Power_ratio
Info: Generalization of the relation between energy capacity and power capacity when investing in battery capacity.
Unit: [MW/MWh]
FlexibleLoads | Energy2Power
BESS_Li_Ion_1 | 1
BESS_Redox_1 | 1
CAES_1 | 1
Flywheel_1 | 1
Hot_Water_Tank_LT_1 | 1
H2_Storage_1 | 1
CH4_Storage_1 | 1

## Par_ChargeEfficiency
Info: Data hentet fra DEA - Teknologirapport - https://ens.dk/sites/ens.dk/files/Analyser/version_7_-_technology_data_catalogue_for_energy_storage.pdf
Unit: Fraction (Brukt 1/0,88) for hydrogen - må "charge" batteriet mer og kompensere for tapet på vei inn i batteriet - derfor efficiency definert slik.
FlexibleLoad | Charge_efficiency
BESS_Li_Ion_1 | 1.0152
BESS_Redox_1 | 1
CAES_1 | 1.1905
Flywheel_1 | 1.0101
Hot_Water_Tank_LT_1 | 1
H2_Storage_1 | 1.1364
CH4_Storage_1 | 1
Shiftable_Electricity | 1
Shiftable_LT | 1
Shiftable_MT | 1
Shiftable_H2 | 1
Shiftable_CH4 | 1
Shiftable_Biogas | 1

## Par_DischargeEfficiency
Info: Data hentet fra DEA - Teknologirapport - https://ens.dk/sites/ens.dk/files/Analyser/version_7_-_technology_data_catalogue_for_energy_storage.pdf
Unit: Fraction
FlexibleLoad | Discharge_efficiency
BESS_Li_Ion_1 | 0.975
BESS_Redox_1 | 0.78
CAES_1 | 0.84
Flywheel_1 | 0.99
Hot_Water_Tank_LT_1 | 1
H2_Storage_1 | 1
CH4_Storage_1 | 1
Shiftable_Electricity | 1
Shiftable_LT | 1
Shiftable_MT | 1
Shiftable_H2 | 1
Shiftable_CH4 | 1
Shiftable_Biogas | 1

## Par_ECToTech_Efficiency
Info: Tenker vi kan anta null tap på linjene (EC-Tech) siden vi omhandler efficiency for hver teknologi i filen (Tech - EC)
Unit: Fraction
Technology | EnergyCarrier | Operational mode | ECToTech_Efficiency
ElectricBoiler | Electricity | 1 | 1
HeatPump_LT | Electricity | 1 | 1
HeatPump_MT | Electricity | 1 | 1
P2G | Electricity | 1 | 1
G2P | H2 | 1 | 1
GasBoiler | CH4_H2_Mix | 1 | 1
GasBoiler | CH4_H2_Mix | 2 | 1
GasBoiler | CH4 | 3 | 1
GasBoiler | CH4 | 4 | 1
GasBoiler | Biogas | 5 | 1
GasBoiler | Biogas | 6 | 1
CHP | CH4_H2_Mix | 1 | 1
CHP | CH4_H2_Mix | 2 | 1
CHP | CH4 | 3 | 1
CHP | CH4 | 4 | 1
CHP | Biogas | 5 | 1
CHP | Biogas | 6 | 1
CH4_H2_Mixer | H2 | 1 | 0.2
CH4_H2_Mixer | CH4 | 1 | 0.8

## Par_TechToEC_Efficiency
Info: Amund, Funnet via https://ens.dk/sites/ens.dk/files/Analyser/technology_data_catalogue_for_energy_storage.pdf??
Obs: Mulig ikke riktig
Technology | EnergyCarrier | Operational mode | TechToEC_Efficiency
Power_Grid | Electricity | 1 | 1
ElectricBoiler | LT | 1 | 0.99
ElectricBoiler | MT | 2 | 0.99
HeatPump_LT | LT | 1 | 3
HeatPump_MT | MT | 1 | 2
PV | Electricity | 1 | 1
P2G | H2 | 1 | 0.6
G2P | Electricity | 1 | 0.6
GasBoiler | LT | 1 | 0.93
GasBoiler | MT | 2 | 0.93
GasBoiler | LT | 3 | 0.93
GasBoiler | MT | 4 | 0.93
GasBoiler | LT | 5 | 0.93
GasBoiler | MT | 6 | 0.93
CHP | LT | 1 | 0.45
CHP | Electricity | 1 | 0.3
CHP | MT | 2 | 0.45
CHP | Electricity | 2 | 0.3
CHP | LT | 3 | 0.45
CHP | Electricity | 3 | 0.3
CHP | MT | 4 | 0.45
CHP | Electricity | 4 | 0.3
CHP | LT | 5 | 0.45
CHP | Electricity | 5 | 0.3
CHP | MT | 6 | 0.45
CHP | Electricity | 6 | 0.3
Biogas_Grid | Biogas | 1 | 0.9999
CH4_Grid | CH4 | 1 | 0.9999
CH4_H2_Mixer | CH4_H2_Mix | 1 | 1

## Par_EnergyCost
Info: Strøm: Hentet fra NO3 priser 2. desember 2024 på ENTSO-E. Biogass: https://www.miljodirektoratet.no/globalassets/publikasjoner/klif2/publikasjoner/2704/ta2704.pdf, CH4: Average price for CH4 in Germanymakret THE 2024 https://www.eex.com/en/market-data/natural-gas/indices
Unit: EUR/MWh
Node | Time | Technology | Cost
1 | 1 | Power_Grid | 0
1 | 2 | Power_Grid | 0
1 | 3 | Power_Grid | 0
2 | 1 | Power_Grid | 0
2 | 2 | Power_Grid | 0
2 | 3 | Power_Grid | 0
3 | 1 | Power_Grid | 0
3 | 2 | Power_Grid | 0
3 | 3 | Power_Grid | 0
4 | 1 | Power_Grid | 0
4 | 2 | Power_Grid | 0
4 | 3 | Power_Grid | 0
5 | 1 | Power_Grid | 0
5 | 2 | Power_Grid | 0
5 | 3 | Power_Grid | 0
6 | 1 | Power_Grid | 0
6 | 2 | Power_Grid | 0
6 | 3 | Power_Grid | 0
1 | 1 | ElectricBoiler | 0
1 | 2 | ElectricBoiler | 0
1 | 3 | ElectricBoiler | 0
2 | 1 | ElectricBoiler | 0
2 | 2 | ElectricBoiler | 0
2 | 3 | ElectricBoiler | 0
3 | 1 | ElectricBoiler | 0
3 | 2 | ElectricBoiler | 0
3 | 3 | ElectricBoiler | 0
4 | 1 | ElectricBoiler | 0
4 | 2 | ElectricBoiler | 0
4 | 3 | ElectricBoiler | 0
5 | 1 | ElectricBoiler | 0
5 | 2 | ElectricBoiler | 0
5 | 3 | ElectricBoiler | 0
6 | 1 | ElectricBoiler | 0
6 | 2 | ElectricBoiler | 0
6 | 3 | ElectricBoiler | 0
1 | 1 | HeatPump_LT | 0
1 | 2 | HeatPump_LT | 0
1 | 3 | HeatPump_LT | 0
2 | 1 | HeatPump_LT | 0
2 | 2 | HeatPump_LT | 0
2 | 3 | HeatPump_LT | 0
3 | 1 | HeatPump_LT | 0
3 | 2 | HeatPump_LT | 0
3 | 3 | HeatPump_LT | 0
4 | 1 | HeatPump_LT | 0
4 | 2 | HeatPump_LT | 0
4 | 3 | HeatPump_LT | 0
5 | 1 | HeatPump_LT | 0
5 | 2 | HeatPump_LT | 0
5 | 3 | HeatPump_LT | 0
6 | 1 | HeatPump_LT | 0
6 | 2 | HeatPump_LT | 0
6 | 3 | HeatPump_LT | 0
1 | 1 | HeatPump_MT | 0
1 | 2 | HeatPump_MT | 0
1 | 3 | HeatPump_MT | 0
2 | 1 | HeatPump_MT | 0
2 | 2 | HeatPump_MT | 0
2 | 3 | HeatPump_MT | 0
3 | 1 | HeatPump_MT | 0
3 | 2 | HeatPump_MT | 0
3 | 3 | HeatPump_MT | 0
4 | 1 | HeatPump_MT | 0
4 | 2 | HeatPump_MT | 0
4 | 3 | HeatPump_MT | 0
5 | 1 | HeatPump_MT | 0
5 | 2 | HeatPump_MT | 0
5 | 3 | HeatPump_MT | 0
6 | 1 | HeatPump_MT | 0
6 | 2 | HeatPump_MT | 0
6 | 3 | HeatPump_MT | 0
1 | 1 | PV | 0
1 | 2 | PV | 0
1 | 3 | PV | 0
2 | 1 | PV | 0
2 | 2 | PV | 0
2 | 3 | PV | 0
3 | 1 | PV | 0
3 | 2 | PV | 0
3 | 3 | PV | 0
4 | 1 | PV | 0
4 | 2 | PV | 0
4 | 3 | PV | 0
5 | 1 | PV | 0
5 | 2 | PV | 0
5 | 3 | PV | 0
6 | 1 | PV | 0
6 | 2 | PV | 0
6 | 3 | PV | 0
1 | 1 | P2G | 0
1 | 2 | P2G | 0
1 | 3 | P2G | 0
2 | 1 | P2G | 0
2 | 2 | P2G | 0
2 | 3 | P2G | 0
3 | 1 | P2G | 0
3 | 2 | P2G | 0
3 | 3 | P2G | 0
4 | 1 | P2G | 0
4 | 2 | P2G | 0
4 | 3 | P2G | 0
5 | 1 | P2G | 0
5 | 2 | P2G | 0
5 | 3 | P2G | 0
6 | 1 | P2G | 0
6 | 2 | P2G | 0
6 | 3 | P2G | 0
1 | 1 | G2P | 0
1 | 2 | G2P | 0
1 | 3 | G2P | 0
2 | 1 | G2P | 0
2 | 2 | G2P | 0
2 | 3 | G2P | 0
3 | 1 | G2P | 0
3 | 2 | G2P | 0
3 | 3 | G2P | 0
4 | 1 | G2P | 0
4 | 2 | G2P | 0
4 | 3 | G2P | 0
5 | 1 | G2P | 0
5 | 2 | G2P | 0
5 | 3 | G2P | 0
6 | 1 | G2P | 0
6 | 2 | G2P | 0
6 | 3 | G2P | 0
1 | 1 | GasBoiler | 0
1 | 2 | GasBoiler | 0
1 | 3 | GasBoiler | 0
2 | 1 | GasBoiler | 0
2 | 2 | GasBoiler | 0
2 | 3 | GasBoiler | 0
3 | 1 | GasBoiler | 0
3 | 2 | GasBoiler | 0
3 | 3 | GasBoiler | 0
4 | 1 | GasBoiler | 0
4 | 2 | GasBoiler | 0
4 | 3 | GasBoiler | 0
5 | 1 | GasBoiler | 0
5 | 2 | GasBoiler | 0
5 | 3 | GasBoiler | 0
6 | 1 | GasBoiler | 0
6 | 2 | GasBoiler | 0
6 | 3 | GasBoiler | 0
1 | 1 | CHP | 0
1 | 2 | CHP | 0
1 | 3 | CHP | 0
2 | 1 | CHP | 0
2 | 2 | CHP | 0
2 | 3 | CHP | 0
3 | 1 | CHP | 0
3 | 2 | CHP | 0
3 | 3 | CHP | 0
4 | 1 | CHP | 0
4 | 2 | CHP | 0
4 | 3 | CHP | 0
5 | 1 | CHP | 0
5 | 2 | CHP | 0
5 | 3 | CHP | 0
6 | 1 | CHP | 0
6 | 2 | CHP | 0
6 | 3 | CHP | 0
1 | 1 | Biogas_Grid | 64.5
1 | 2 | Biogas_Grid | 64.5
1 | 3 | Biogas_Grid | 64.5
2 | 1 | Biogas_Grid | 64.5
2 | 2 | Biogas_Grid | 64.5
2 | 3 | Biogas_Grid | 64.5
3 | 1 | Biogas_Grid | 64.5
3 | 2 | Biogas_Grid | 64.5
3 | 3 | Biogas_Grid | 64.5
4 | 1 | Biogas_Grid | 64.5
4 | 2 | Biogas_Grid | 64.5
4 | 3 | Biogas_Grid | 64.5
5 | 1 | Biogas_Grid | 64.5
5 | 2 | Biogas_Grid | 64.5
5 | 3 | Biogas_Grid | 64.5
6 | 1 | Biogas_Grid | 64.5
6 | 2 | Biogas_Grid | 64.5
6 | 3 | Biogas_Grid | 64.5
1 | 1 | CH4_Grid | 39.479
1 | 2 | CH4_Grid | 39.479
1 | 3 | CH4_Grid | 39.479
2 | 1 | CH4_Grid | 39.479
2 | 2 | CH4_Grid | 39.479
2 | 3 | CH4_Grid | 39.479
3 | 1 | CH4_Grid | 39.479
3 | 2 | CH4_Grid | 39.479
3 | 3 | CH4_Grid | 39.479
4 | 1 | CH4_Grid | 39.479
4 | 2 | CH4_Grid | 39.479
4 | 3 | CH4_Grid | 39.479
5 | 1 | CH4_Grid | 39.479
5 | 2 | CH4_Grid | 39.479
5 | 3 | CH4_Grid | 39.479
6 | 1 | CH4_Grid | 39.479
6 | 2 | CH4_Grid | 39.479
6 | 3 | CH4_Grid | 39.479
1 | 1 | CH4_H2_Mixer | 0
1 | 2 | CH4_H2_Mixer | 0
1 | 3 | CH4_H2_Mixer | 0
2 | 1 | CH4_H2_Mixer | 0
2 | 2 | CH4_H2_Mixer | 0
2 | 3 | CH4_H2_Mixer | 0
3 | 1 | CH4_H2_Mixer | 0
3 | 2 | CH4_H2_Mixer | 0
3 | 3 | CH4_H2_Mixer | 0
4 | 1 | CH4_H2_Mixer | 0
4 | 2 | CH4_H2_Mixer | 0
4 | 3 | CH4_H2_Mixer | 0
5 | 1 | CH4_H2_Mixer | 0
5 | 2 | CH4_H2_Mixer | 0
5 | 3 | CH4_H2_Mixer | 0
6 | 1 | CH4_H2_Mixer | 0
6 | 2 | CH4_H2_Mixer | 0
6 | 3 | CH4_H2_Mixer | 0

## Par_EnergyDemand
Info: Antar at bedriften er forholdsvis stor, og har en load demand årlig på overkant av 130 000 MWh, tilsvarer 15 MWh per time. Angående heat demand, antar vi en årlig heat demand til sammen nærmere 90 000MWH likt fordelt mellom LT og MT, men et gjennomsnitt på 5MWh per time i demand. Har brukt random fordeling mellom 8 og 25 og random fordeling mellom 2 og 7 angående demand for LT og MT og plasset de timene med mest demand på dagen og de med lavest på natten.
Unit: MWh
Node | Time | EnergyCarrier | Demand
1 | 1 | Electricity | 5
1 | 2 | Electricity | 5
1 | 3 | Electricity | 5
2 | 1 | Electricity | 5
2 | 2 | Electricity | 5
2 | 3 | Electricity | 5
3 | 1 | Electricity | 5
3 | 2 | Electricity | 5
3 | 3 | Electricity | 5
4 | 1 | Electricity | 5
4 | 2 | Electricity | 5
4 | 3 | Electricity | 5
5 | 1 | Electricity | 5
5 | 2 | Electricity | 5
5 | 3 | Electricity | 5
6 | 1 | Electricity | 5
6 | 2 | Electricity | 5
6 | 3 | Electricity | 5
1 | 1 | LT | 2
1 | 2 | LT | 2
1 | 3 | LT | 2
2 | 1 | LT | 2
2 | 2 | LT | 2
2 | 3 | LT | 2
3 | 1 | LT | 2
3 | 2 | LT | 2
3 | 3 | LT | 2
4 | 1 | LT | 2
4 | 2 | LT | 2
4 | 3 | LT | 2
5 | 1 | LT | 2
5 | 2 | LT | 2
5 | 3 | LT | 2
6 | 1 | LT | 2
6 | 2 | LT | 2
6 | 3 | LT | 2
1 | 1 | MT | 2
1 | 2 | MT | 2
1 | 3 | MT | 2
2 | 1 | MT | 2
2 | 2 | MT | 2
2 | 3 | MT | 2
3 | 1 | MT | 2
3 | 2 | MT | 2
3 | 3 | MT | 2
4 | 1 | MT | 2
4 | 2 | MT | 2
4 | 3 | MT | 2
5 | 1 | MT | 2
5 | 2 | MT | 2
5 | 3 | MT | 2
6 | 1 | MT | 2
6 | 2 | MT | 2
6 | 3 | MT | 2
1 | 1 | H2 | 0
1 | 2 | H2 | 0
1 | 3 | H2 | 0
2 | 1 | H2 | 0
2 | 2 | H2 | 0
2 | 3 | H2 | 0
3 | 1 | H2 | 0
3 | 2 | H2 | 0
3 | 3 | H2 | 0
4 | 1 | H2 | 0
4 | 2 | H2 | 0
4 | 3 | H2 | 0
5 | 1 | H2 | 0
5 | 2 | H2 | 0
5 | 3 | H2 | 0
6 | 1 | H2 | 0
6 | 2 | H2 | 0
6 | 3 | H2 | 0
1 | 1 | CH4 | 0
1 | 2 | CH4 | 0
1 | 3 | CH4 | 0
2 | 1 | CH4 | 0
2 | 2 | CH4 | 0
2 | 3 | CH4 | 0
3 | 1 | CH4 | 0
3 | 2 | CH4 | 0
3 | 3 | CH4 | 0
4 | 1 | CH4 | 0
4 | 2 | CH4 | 0
4 | 3 | CH4 | 0
5 | 1 | CH4 | 0
5 | 2 | CH4 | 0
5 | 3 | CH4 | 0
6 | 1 | CH4 | 0
6 | 2 | CH4 | 0
6 | 3 | CH4 | 0
1 | 1 | Biogas | 0
1 | 2 | Biogas | 0
1 | 3 | Biogas | 0
2 | 1 | Biogas | 0
2 | 2 | Biogas | 0
2 | 3 | Biogas | 0
3 | 1 | Biogas | 0
3 | 2 | Biogas | 0
3 | 3 | Biogas | 0
4 | 1 | Biogas | 0
4 | 2 | Biogas | 0
4 | 3 | Biogas | 0
5 | 1 | Biogas | 0
5 | 2 | Biogas | 0
5 | 3 | Biogas | 0
6 | 1 | Biogas | 0
6 | 2 | Biogas | 0
6 | 3 | Biogas | 0
1 | 1 | CH4_H2_Mix | 0
1 | 2 | CH4_H2_Mix | 0
1 | 3 | CH4_H2_Mix | 0
2 | 1 | CH4_H2_Mix | 0
2 | 2 | CH4_H2_Mix | 0
2 | 3 | CH4_H2_Mix | 0
3 | 1 | CH4_H2_Mix | 0
3 | 2 | CH4_H2_Mix | 0
3 | 3 | CH4_H2_Mix | 0
4 | 1 | CH4_H2_Mix | 0
4 | 2 | CH4_H2_Mix | 0
4 | 3 | CH4_H2_Mix | 0
5 | 1 | CH4_H2_Mix | 0
5 | 2 | CH4_H2_Mix | 0
5 | 3 | CH4_H2_Mix | 0
6 | 1 | CH4_H2_Mix | 0
6 | 2 | CH4_H2_Mix | 0
6 | 3 | CH4_H2_Mix | 0

## Par_ExportCost
Info: Kan eksportere til 95% av import kostnad Samme kilder som EnergyCost, samt ssb.no for salg av overskuddsvarme på fjernvarmenett: https://www.ssb.no/en/energi-og-industri/energi/statistikk/fjernvarme-og-fjernkjoling . For Hydrogen: https://h2v.eu/analysis/statistics/financing/hydrogen-cost-and-sales-prices
Unit: [Euro/MWh] (LT og MT er initielt sattt pris til 86,344 på fjernvarmenett, men satt til 0 for å ikke cape alle teknologiene til å levere LT MT og selge til fjernvarmenettet. Ser da på dette som en ikke mulighet siden det ødelegger for hva vi egentlig ønsker å vise.
Node | Time | EnergyCarrier | CostExport
1 | 1 | Electricity | 3.363
1 | 2 | Electricity | 3.287
1 | 3 | Electricity | 4.066
2 | 1 | Electricity | 4.579
2 | 2 | Electricity | 3.4105
2 | 3 | Electricity | 3.363
3 | 1 | Electricity | 4.8355
3 | 2 | Electricity | 9.6235
3 | 3 | Electricity | 11.4095
4 | 1 | Electricity | 13.6895
4 | 2 | Electricity | 20.159
4 | 3 | Electricity | 20.5485
5 | 1 | Electricity | 19.9595
5 | 2 | Electricity | 19.95
5 | 3 | Electricity | 19.931
6 | 1 | Electricity | 20.3585
6 | 2 | Electricity | 18.8005
6 | 3 | Electricity | 17.119
1 | 1 | LT | 7.904
1 | 2 | LT | 3.9292
1 | 3 | LT | 3.7088
2 | 1 | LT | 4.0356
2 | 2 | LT | 3.9444
2 | 3 | LT | 4.8792
3 | 1 | LT | 5.4948
3 | 2 | LT | 4.0926
3 | 3 | LT | 4.0356
4 | 1 | LT | 5.8026
4 | 2 | LT | 11.5482
4 | 3 | LT | 13.6914
5 | 1 | LT | 16.4274
5 | 2 | LT | 24.1908
5 | 3 | LT | 24.6582
6 | 1 | LT | 23.9514
6 | 2 | LT | 23.94
6 | 3 | LT | 23.9172
1 | 1 | MT | 0
1 | 2 | MT | 0
1 | 3 | MT | 0
2 | 1 | MT | 0
2 | 2 | MT | 0
2 | 3 | MT | 0
3 | 1 | MT | 0
3 | 2 | MT | 0
3 | 3 | MT | 0
4 | 1 | MT | 0
4 | 2 | MT | 0
4 | 3 | MT | 0
5 | 1 | MT | 0
5 | 2 | MT | 0
5 | 3 | MT | 0
6 | 1 | MT | 0
6 | 2 | MT | 0
6 | 3 | MT | 0
1 | 1 | H2 | 0
1 | 2 | H2 | 0
1 | 3 | H2 | 0
2 | 1 | H2 | 0
2 | 2 | H2 | 0
2 | 3 | H2 | 0
3 | 1 | H2 | 0
3 | 2 | H2 | 0
3 | 3 | H2 | 0
4 | 1 | H2 | 0
4 | 2 | H2 | 0
4 | 3 | H2 | 0
5 | 1 | H2 | 0
5 | 2 | H2 | 0
5 | 3 | H2 | 0
6 | 1 | H2 | 0
6 | 2 | H2 | 0
6 | 3 | H2 | 0
1 | 1 | CH4 | 0
1 | 2 | CH4 | 0
1 | 3 | CH4 | 0
2 | 1 | CH4 | 0
2 | 2 | CH4 | 0
2 | 3 | CH4 | 0
3 | 1 | CH4 | 0
3 | 2 | CH4 | 0
3 | 3 | CH4 | 0
4 | 1 | CH4 | 0
4 | 2 | CH4 | 0
4 | 3 | CH4 | 0
5 | 1 | CH4 | 0
5 | 2 | CH4 | 0
5 | 3 | CH4 | 0
6 | 1 | CH4 | 0
6 | 2 | CH4 | 0
6 | 3 | CH4 | 0
1 | 1 | Biogas | 150.15
1 | 2 | Biogas | 150.15
1 | 3 | Biogas | 150.15
2 | 1 | Biogas | 150.15
2 | 2 | Biogas | 150.15
2 | 3 | Biogas | 150.15
3 | 1 | Biogas | 150.15
3 | 2 | Biogas | 150.15
3 | 3 | Biogas | 150.15
4 | 1 | Biogas | 150.15
4 | 2 | Biogas | 150.15
4 | 3 | Biogas | 150.15
5 | 1 | Biogas | 150.15
5 | 2 | Biogas | 150.15
5 | 3 | Biogas | 150.15
6 | 1 | Biogas | 150.15
6 | 2 | Biogas | 150.15
6 | 3 | Biogas | 150.15
1 | 1 | CH4_H2_Mix | 0
1 | 2 | CH4_H2_Mix | 0
1 | 3 | CH4_H2_Mix | 0
2 | 1 | CH4_H2_Mix | 0
2 | 2 | CH4_H2_Mix | 0
2 | 3 | CH4_H2_Mix | 0
3 | 1 | CH4_H2_Mix | 0
3 | 2 | CH4_H2_Mix | 0
3 | 3 | CH4_H2_Mix | 0
4 | 1 | CH4_H2_Mix | 0
4 | 2 | CH4_H2_Mix | 0
4 | 3 | CH4_H2_Mix | 0
5 | 1 | CH4_H2_Mix | 0
5 | 2 | CH4_H2_Mix | 0
5 | 3 | CH4_H2_Mix | 0
6 | 1 | CH4_H2_Mix | 0
6 | 2 | CH4_H2_Mix | 0
6 | 3 | CH4_H2_Mix | 0

## Par_InitialCapacityInstalled
Info: Electric Boilers and Heat Pump size: https://ens.dk/sites/ens.dk/files/Analyser/technology_data_catalogue_for_industrial_process_heat.pdf. PV: https://coldwellsolar.com/commercial-solar-blog/what-kind-of-solar-array-is-needed-to-power-an-industrial-plant/ , P2G: https://en.wikipedia.org/wiki/Power-to-gas G2P: https://petrowiki.spe.org/Gas_to_power . For GasBoiler: https://www.linkedin.com/pulse/gas-fired-boilers-market-analysis-report-global-insights-region-7ccbc For CHP: https://iea.blob.core.windows.net/assets/d459f7d5-1ba7-49d9-ad56-915fba22f267/chp_report.pdf
Unit: [MW] (PV initially 5)
Technology | Initial_Installed_Capacity
Power_Grid | 50
ElectricBoiler | 20
HeatPump_LT | 10
HeatPump_MT | 10
PV | 5
P2G | 2
G2P | 10
GasBoiler | 15
CHP | 5
Biogas_Grid | 30
CH4_Grid | 30
CH4_H2_Mixer | 1000

## Par_InitialSoC
Info: Assume flexible Loads at full load
Unit: Fraction
FlexibleLoad | InitialSoC
BESS_Li_Ion_1 | 0.5
BESS_Redox_1 | 0.5
CAES_1 | 0.5
Flywheel_1 | 0.5
Hot_Water_Tank_LT_1 | 0.5
H2_Storage_1 | 0.5
CH4_Storage_1 | 0.5
Shiftable_Electricity | 0.5
Shiftable_LT | 0.5
Shiftable_MT | 0.5
Shiftable_H2 | 0
Shiftable_CH4 | 0
Shiftable_Biogas | 0

## Par_MaxCableCapacity
Max_Cable_Capacity
50

## Par_MaxChargeDischargeRate
Info: https://ens.dk/sites/ens.dk/files/Analyser/technology_data_catalogue_for_energy_storage.pdf
Unit: [MW] til flexible load (sammenlignet med effekstærrelse i MaxCapacity
FlexibleLoad | Max__charge_discharge_rate
BESS_Li_Ion_1 | 5
BESS_Redox_1 | 1.5
CAES_1 | 6.7
Flywheel_1 | 4
Hot_Water_Tank_LT_1 | 1
H2_Storage_1 | 5
CH4_Storage_1 | 3
Shiftable_Electricity | 0
Shiftable_LT | 0
Shiftable_MT | 0
Shiftable_H2 | 0
Shiftable_CH4 | 0
Shiftable_Biogas | 0

## Par_MaxStorageCapacity
Info: all parameters: https://ens.dk/sites/ens.dk/files/Analyser/technology_data_catalogue_for_energy_storage.pdf
Unit: [MWh]
FlexibleLoad | MaxStorageCapacity
BESS_Li_Ion_1 | 5
BESS_Redox_1 | 5
CAES_1 | 10
Flywheel_1 | 1
Hot_Water_Tank_LT_1 | 5
H2_Storage_1 | 10
CH4_Storage_1 | 4
Shiftable_Electricity | 1000
Shiftable_LT | 1000
Shiftable_MT | 1000
Shiftable_H2 | 0
Shiftable_CH4 | 0
Shiftable_Biogas | 0

## Par_MaxDwnShift
Info:
Unit: fraction of demand that can be shifted
MaximumDwnShift
0.2

## Par_MaxUpShift
MaximumUpShift
0.2

## Par_MaxExport
Info: Kan ikke eksportere mer enn totalt demand
Unit: [MWh/year]
MaxExport
130000

## Par_NodesProbability
Node | ScenarioProbability
1 | 0.5
2 | 0.5
3 | 0.3
4 | 0.3
5 | 0.2
6 | 0.2

## Par_SelfDischarge
Info: Data hentet fra DEA - Teknologirapport - https://ens.dk/sites/ens.dk/files/Analyser/version_7_-_technology_data_catalogue_for_energy_storage.pdf
Unit: Fraction loss per hour, t
FlexibleLoad | SelfDischarge
BESS_Li_Ion_1 | 0.0041667
BESS_Redox_1 | 0
CAES_1 | 0
Flywheel_1 | 0.00125
Hot_Water_Tank_LT_1 | 0.0083333
H2_Storage_1 | 0.00041667
CH4_Storage_1 | 0
Shiftable_Electricity | 0
Shiftable_LT | 0
Shiftable_MT | 0
Shiftable_H2 | 0
Shiftable_CH4 | 0
Shiftable_Biogas | 0

## Set_of_EnergyCarrier
EnergyCarrier
Electricity
LT
MT
H2
CH4
Biogas
CH4_H2_Mix

## Set_of_FlexibleLoad
FlexibleLoad
BESS_Li_Ion_1
BESS_Redox_1
CAES_1
Flywheel_1
Hot_Water_Tank_LT_1
H2_Storage_1
CH4_Storage_1
Shiftable_Electricity
Shiftable_LT
Shiftable_MT
Shiftable_H2
Shiftable_CH4
Shiftable_Biogas

## Set_of_FlexibleLoadForEC
FlexibleLoad | EnergyCarrier
BESS_Li_Ion_1 | Electricity
BESS_Redox_1 | Electricity
CAES_1 | Electricity
Flywheel_1 | Electricity
Hot_Water_Tank_LT_1 | LT
H2_Storage_1 | H2
CH4_Storage_1 | CH4
Shiftable_Electricity | Electricity
Shiftable_LT | LT
Shiftable_MT | MT
Shiftable_H2 | H2
Shiftable_CH4 | CH4
Shiftable_Biogas | Biogas

## Set_of_Month
Month
1

## Set_of_Nodes
Nodes
1
2
3
4
5
6

## Par_Ramping_factor
Technology | Ramping factor
Power_Grid | 1
ElectricBoiler | 1
HeatPump_LT | 1
HeatPump_MT | 1
PV | 1
P2G | 1
G2P | 1
GasBoiler | 1
CHP | 1
Biogas_Grid | 1
CH4_Grid | 1
CH4_H2_Mixer | 1

## Set_of_Technology
Technology
Power_Grid
ElectricBoiler
HeatPump_LT
HeatPump_MT
PV
P2G
G2P
GasBoiler
CHP
Biogas_Grid
CH4_Grid
CH4_H2_Mixer

## Set_of_TimeSteps
Time
1
2
3

## Subset_LoadShiftWindow
Intervals | TimeLoadShift
1 | 2
1 | 3

## Set_of_LoadShiftingInterval
Intervals
1

## Subset_of_TimeStepsInMonth
TimeInMonth
1
2
3

## Subset_ShiftableLoadForEC
FlexibleLoad | EnergyCarrier
Shiftable_Electricity | Electricity
Shiftable_LT | LT
Shiftable_MT | MT
Shiftable_H2 | H2
Shiftable_CH4 | CH4
Shiftable_Biogas | Biogas

## Subset_ECToTech
Technology | EnergyCarrier | Operational mode
ElectricBoiler | Electricity | 1
HeatPump_LT | Electricity | 1
HeatPump_MT | Electricity | 1
P2G | Electricity | 1
G2P | H2 | 1
GasBoiler | CH4_H2_Mix | 1
GasBoiler | CH4_H2_Mix | 2
GasBoiler | CH4 | 3
GasBoiler | CH4 | 4
GasBoiler | Biogas | 5
GasBoiler | Biogas | 6
CHP | CH4_H2_Mix | 1
CHP | CH4_H2_Mix | 2
CHP | CH4 | 3
CHP | CH4 | 4
CHP | Biogas | 5
CHP | Biogas | 6
CH4_H2_Mixer | H2 | 1
CH4_H2_Mixer | CH4 | 1

## Subset_TechToEC
Technology | EnergyCarrier | Operational mode
Power_Grid | Electricity | 1
ElectricBoiler | LT | 1
ElectricBoiler | MT | 2
HeatPump_LT | LT | 1
HeatPump_MT | MT | 1
PV | Electricity | 1
P2G | H2 | 1
G2P | Electricity | 1
GasBoiler | LT | 1
GasBoiler | MT | 2
GasBoiler | LT | 3
GasBoiler | MT | 4
GasBoiler | LT | 5
GasBoiler | MT | 6
CHP | LT | 1
CHP | Electricity | 1
CHP | MT | 2
CHP | Electricity | 2
CHP | LT | 3
CHP | Electricity | 3
CHP | MT | 4
CHP | Electricity | 4
CHP | LT | 5
CHP | Electricity | 5
CHP | MT | 6
CHP | Electricity | 6
Biogas_Grid | Biogas | 1
CH4_Grid | CH4 | 1
CH4_H2_Mixer | CH4_H2_Mix | 1

## Set_parent_coupling
Node | Parent
3 | 1
4 | 1
5 | 2
6 | 2

## Subset_Plan_Nodes
Nodes
1
2

## Subset_ID_Nodes
Nodes
3
4
5
6

## Subset_RT_Nodes
Nodes
3
4
5
6

## Set_Mode_of_Operation
Operational mode
1
2
3
4
5
6

## Par_BatteryCost
FlexibleLoad | Cost
BESS_Li_Ion_1 | 5
BESS_Redox_1 | 5
CAES_1 | 5
Flywheel_1 | 5
Hot_Water_Tank_LT_1 | 5
H2_Storage_1 | 5
CH4_Storage_1 | 5
Shiftable_Electricity | 5
Shiftable_LT | 5
Shiftable_MT | 5
Shiftable_H2 | 5
Shiftable_CH4 | 5
Shiftable_Biogas | 5

## Par_CostImbalance
CostImbalance
10

## Par_SpotPrice
Node | Time | SpotPrice
1 | 1 | 3.54
1 | 2 | 3.46
1 | 3 | 4.28
2 | 1 | 4.82
2 | 2 | 3.59
2 | 3 | 3.59
3 | 1 | 5.09
3 | 2 | 10.13
3 | 3 | 12.01
4 | 1 | 14.41
4 | 2 | 21.22
4 | 3 | 21.63
5 | 1 | 21.01
5 | 2 | 21
5 | 3 | 20.98
6 | 1 | 21.43
6 | 2 | 19.79
6 | 3 | 18.02

## Par_IntradayPrice
Node | Time | IntradayPrice
1 | 1 | 3.54
1 | 2 | 3.46
1 | 3 | 4.28
2 | 1 | 4.82
2 | 2 | 3.59
2 | 3 | 3.59
3 | 1 | 5.09
3 | 2 | 10.13
3 | 3 | 12.01
4 | 1 | 14.41
4 | 2 | 21.22
4 | 3 | 21.63
5 | 1 | 21.01
5 | 2 | 21
5 | 3 | 20.98
6 | 1 | 21.43
6 | 2 | 19.79
6 | 3 | 18.02

## Par_RK_UpPrice
Node | Time | RKUpPrice
1 | 1 | 3.54
1 | 2 | 3.46
1 | 3 | 4.28
2 | 1 | 4.82
2 | 2 | 3.59
2 | 3 | 3.59
3 | 1 | 5.09
3 | 2 | 10.13
3 | 3 | 12.01
4 | 1 | 14.41
4 | 2 | 21.22
4 | 3 | 21.63
5 | 1 | 21.01
5 | 2 | 21
5 | 3 | 20.98
6 | 1 | 21.43
6 | 2 | 19.79
6 | 3 | 18.02

## Par_RK_DwnPrice
Node | Time | RKDwnPrice
1 | 1 | 3.54
1 | 2 | 3.46
1 | 3 | 4.28
2 | 1 | 4.82
2 | 2 | 3.59
2 | 3 | 3.59
3 | 1 | 5.09
3 | 2 | 10.13
3 | 3 | 12.01
4 | 1 | 14.41
4 | 2 | 21.22
4 | 3 | 21.63
5 | 1 | 21.01
5 | 2 | 21
5 | 3 | 20.98
6 | 1 | 21.43
6 | 2 | 19.79
6 | 3 | 18.02

## Set_Strategic_Periods
Strategic
1

## Par_Max_Capex_tec
Technology | Capex
Power_Grid | 5
ElectricBoiler | 5
HeatPump_LT | 5
HeatPump_MT | 5
PV | 5
P2G | 5
G2P | 5
GasBoiler | 5
CHP | 5
Biogas_Grid | 5
CH4_Grid | 5
CH4_H2_Mixer | 0

## Par_Max_Capex_bat
FlexibleLoad | Capex
BESS_Li_Ion_1 | 5
BESS_Redox_1 | 5
CAES_1 | 5
Flywheel_1 | 5
Hot_Water_Tank_LT_1 | 5
H2_Storage_1 | 5
CH4_Storage_1 | 5
Shiftable_Electricity | 5
Shiftable_LT | 5
Shiftable_MT | 5
Shiftable_H2 | 5
Shiftable_CH4 | 5
Shiftable_Biogas | 5

## Par_Max_Carbon_Emission
Max Carbon E
1000000